Customer Service Department: Fast Fax

To: FAROArm User		From:  Customer Service Department

FORM:  178-126

1 Page total including this page.  Contact us immediately if pages are missing or not legible.

Topic:  Uninstalling\Installing CAM2 Measure Version 3.9x

###### UNINSTALL PROCEDURE

Important!  Back up all data.  Save all of your SAT, SCT & XLN files onto another directory. Important!

- Reboot the computer.

- Close all applications on your computer.

- Insert the CAM2 Measure Version 3.9 CD into the drive.

- When the install wizard box appears select “Remove – Remove all installed features”

- Then click on the “Next” button.

- A dialog box will appear reporting, “Do you want to completely remove the selected application and all of its features?”

- Select the “OK” button.

- The uninstall process will begin.

- Once this uninstall is complete a dialog box will appear reporting it has completed its operation.  Then you will need to select the button “Finish”.

- The software is now removed from your computer.

###### INSTALL PROCEDURE

- Reboot the computer.

- Close all applications on your computer.

- Insert the CAM2 Measure Version 3.9 CD into the drive.

- When the install wizard box appears select “Modify – Select new program features to add or select currently installed features to remove”

- Then click on the “Next” button.

- A dialog box will prompt “Warning! Remove all port locks from this computer”.  Remove the portlock.

- To continue select “Next”

- Complete “User Name” & “Company Name”.

- After filling out this information select “Next”.

- A dialog box will appear reporting the destination do not change this information use this default.

- To install the standard configuration basic install use these defaults below and select “Next” to continue.

For standard installation:

Use default setting below.

For soft check tool user/customers  only:

Check all boxes in this list below & then select “Next”.

- The software will now install.

- After the installation is complete a dialog box will open reporting: ‘The InstallShield Wizard has successfully installed CAM2 Measure 3.9.  Before you can use the program, you must restart your computer”.

- Select “Yes” and click “Finish”.

- The computer will now reboot.  Plug in you port lock and open CAM2 Measure.

If you are still experiencing difficulties, please contact the customer service department by telephone at 1-800-736-2771 or by e-mail at support@FARO.com.

FAX questions to:  (407) 333-8056