Customer Service Department Technical Guides

Topic:

Dear Customer,

Your complete satisfaction with Faro products is our number one goal.  In the unfortunate circumstance that your Faro equipment needs to be serviced, we will do everything in our power to ensure the service is completed as accurately and as quickly as possible.  To facilitate your service and assure proper diagnosis of your FARO equipment, please answer the following questions:

- Has the arm been used with any external devices?

  - Please list any touch triggers, scanners, and any device that can be connected to the options port

  - If so, please remove them, reboot the arm and try using the arm again.

Did the error/issue remain?

  - Do you ever use a Renishaw Probe with the arm?

  - If yes, were you using the Renishaw probe when the issue occurred?

- Is there any vibration or hum in the environment? (Items that cause such environmental changes can have an effect on equipment)

  - If so, please move the arm to an environment where there is none, and try the arm again.

- Please include digital pictures of your setup, power source, grounding, and cable connections. (Pictures depicting the setup mounting of the FARO equipment as well how it is being used)

- Please include the event log file and screen shots for review (For Error Codes Only)

  - Screen shot

    - Click on the Print Screen button on your keyboard.  (This will copy the screen)

    - Open Microsoft Word or Paint and paste the screen shot inside to send

  - Event Log (most common way to generate the log)

    - Go to> Start> All Programs> FARO>  Create Event (or Error) Log Package

    - You will be prompted to send the file to FARO - Click “OK”

    - Save the file to your desktop to send to FARO

    - You may need to pull the event log off the computer

- What software type & version is being used?

- What computer brand and model is being used?

- What specific application is it being used when this issue occurred?

- If there are any delays, was the equipment used during the time no errors were recorded.

- Once you have completed the above information, please send it to support@faro.com

#### Note:  This information will allow your FARO Support representative to properly diagnose the issues with your arm.  FARO Support requires this information prior to issuing a RMA for a service.

For questions and concerns please email FARO Customer Service:

Faro Technologies Inc.                           FARO EUROPE GmbH & Co. KG		FARO Singapore Pte. Ltd

125 Technology Park                              Lingwiesenstr. 11/2 · 70825                                    3 Changi South Street 2,

Lake Mary, FL 32746                              Korntal-Münchingen · Germany                              486548 Singapore

1-800-736-2771			+49.7150.97.97-400                                                1800-511-1360

support@faro.com			support@faroeurope.com			supportAP@faro.com

Disclaimer:  Faro Technologies, Inc. makes no warranty, express, implied or statutory, as to the material on this form, including any referenced third party.  The material contained on this form is for informational purposes only; such material is provided “AS IS” and with all faults, and your use of the material is at your own risk.